## Summary
| Energy source levels and technology |  |  |  |  | AT | [6 empty] | BE |  |  |  |  | BG |  | CH | [7 empty] | CZ | [5 empty] | DE | [6 empty] | DK | [5 empty] | EE | [6 empty] | ES | [7 empty] | FR | [6 empty] | FI |  |  |  | GB |  |  |  |  | GR | [6 empty] | HR | [5 empty] | HU | [5 empty] | IE |  |  |  | IT | [5 empty] | LT |  |  |  | LU |  | LV | [6 empty] | NL |  |  |  |  | NO | [5 empty] | PL |  |  | PT | [5 empty] | RO | [5 empty] | SE | [5 empty] | SI |  |  |  |  | SK
| Total generation capacity | Generation capacity by energy type (fossil, nuclear, renewable, other) | Generation capacity by fuel or energy source (e.g. coal, lignite, hard coal, natural gas, wind) | Generation capacity by fuel or energy source and detailed fuel for bioenergy | Generation capacity by fuel and technology (e.g. combined cycle natural gas, gas turbine, onshore wind, offshore wind) | Installed capacity in MW | [6 empty] | Installed capacity in MW |  |  |  |  | Installed capacity in MW | Installed capacity in MW | Installed capacity in MW | [7 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW | [6 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW | [6 empty] | Installed capacity in MW | [7 empty] | Installed capacity in MW | [6 empty] | Installed capacity in MW |  |  |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW | [6 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  |  | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  |  | Installed capacity in MW |  | Installed capacity in MW | [6 empty] | Installed capacity in MW |  |  |  |  | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  | Installed capacity in MW | [5 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  |  |  | Installed capacity in MW
[6 empty] | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2015 | 2016 | 2017 | 2018 | 2019 | 2012 | 2019 | 2012 | 2012 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2012 | 2013 | 2014 | 2015 | 2015 | 2016 | 2017 | 2018 | 2019 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2014 | 2015 | 2019 | 2020 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2014 | 2015 | 2018 | 2019 | 2013 | 2014 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2013 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2014 | 2017 | 2019 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
[6 empty] | e-control | e-control | e-control | e-control | e-control | e-control | e-control | ELIA | ELIA | ELIA | ELIA | ELIA | TSO Bulgaria | TSO Bulgaria | UN Statistical Office | BFE | BFE | BFE | BFE | BFE | BFE | BFE | ERU | ERU | ERU | ERU | ERU | ERU | BMWi | BMWi | BMWi | BMWi | BMWi | BMWi | BMWi | DEA | DEA | DEA | DEA | DEA | DEA | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | REE | REE | REE | REE | REE | REE | REE | REE | RTE | RTE | RTE | RTE | RTE | RTE | RTE | Statistics Finland | Statistics Finland | Statistics Finland | Statistics Finland | Department of Energy & Climate Change | Department of Energy & Climate Change | Department of Energy & Climate Change | Department of Energy & Climate Change | Department of Energy & Climate Change | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Mavir | Mavir | Mavir | Mavir | Mavir | Mavir | Eirgrid | Eirgrid | Eirgrid | Eirgrid | Terna | Terna | Terna | Terna | Terna | Terna | Litgrid | Litgrid | Litgrid | Litgrid | ILR | ILR | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Tennet | Tennet | Tennet | Tennet | Tennet | Statistics Norway | Statistics Norway | Statistics Norway | Statistics Norway | Statistics Norway | Statistics Norway | CIRE | CIRE | CIRE | REN | REN | REN | REN | REN | REN | Anre | Anre | Anre | Anre | Anre | Anre | Svensk Energi | Svensk Energi | Svensk Energi | Swedenergy | Swedenergy | Swedenergy | Agencija za energijo | Agencija za energijo | Agencija za energijo | Agencija za energijo | Agencija za energijo | Statistical Office of Slovakia | Statistical Office of Slovakia | Statistical Office of Slovakia | Statistical Office of Slovakia | Statistical Office of Slovakia | Statistical Office of Slovakia
[6 empty] | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Ministry | Ministry | Ministry | Ministry | Ministry | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Regulatory Authority | Regulatory Authority | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Private companies | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Other associations | Other associations | Other association | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office
[6 empty] | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-2019_KW2EPLTyp.xlsx/e9993ee3-838f-ed2e-2031-7503418fac2d?t=1596094915390 | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | http://www.eso.bg/fileObj.php?oid=99 | http://www.eso.bg/?did=380 | http://data.un.org/Data.aspx?d=EDATA&f=cmID%3AEC | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvNzA3Ni5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvNzkyNS5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvODM0My5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvODY5My5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvOTM5Ni5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvOTc0OC5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik.exturl.html/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvMTAxMTI=.html | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2013.pdf/34a35d27-9c58-4c79-99d1-f0fbc5eac06a | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2014.pdf/f23d80b5-668a-42c0-9d04-1a19556c9c58 | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2015.pdf/2548f33b-7964-4537-8b97-3943c7d83854 | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2016.pdf/bfbc88b7-a814-498f-99bf-98b50148c805 | https://www.eru.cz/documents/10540/4580209/Yearly_report_electricity_2017.pdf/a4042a98-8750-4524-bb3c-f172ecba2f3b | http://www.eru.cz/documents/10540/4580207/Yearly_report_electricity_2018.pdf/f25a55d8-6730-4521-8e40-96d8e5f00c70 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | https://www.bmwi.de/Redaktion/DE/Binaer/Energiedaten/energiedaten-gesamt-xls.xlsx?__blob=publicationFile&v=117 | Link unavailable | https://ens.dk/sites/ens.dk/files/Statistik/energystatistics2014.pdf | https://ens.dk/sites/ens.dk/files/Statistik/energy_statistics_2015.pdf | https://ens.dk/sites/ens.dk/files/Statistik/energy_statistics_2016.pdf | https://ens.dk/sites/ens.dk/files/Statistik/energystatistics2017.pdf | https://ens.dk/sites/ens.dk/files/Statistik/energy_statistics_2018.pdf | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | http://pub.stat.ee/px-web.2001/Dialog/varval.asp?ma=FE032&ti=CAPACITY+AND+PRODUCTION+OF+POWER+PLANTS&path=../I_Databas/Economy/07Energy/02Energy_consumption_and_production/01Annual_statistics/&lang=1 | Link unavailable |  | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/septiembre_2019/6_Potencia_instalada_09_2019.xlsm | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/septiembre_2019/6_Potencia_instalada_09_2019.xlsm | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/septiembre_2019/6_Potencia_instalada_09_2019.xlsm | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/septiembre_2019/6_Potencia_instalada_09_2019.xlsm | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/septiembre_2019/6_Potencia_instalada_09_2019.xlsm | https://www.ree.es/sites/default/files/11_PUBLICACIONES/Documentos/SeriesEstadisticas/agosto_2020/6_Potencia_instalada_08_2020.xlsm | https://www.rte-france.com/sites/default/files/bilan_electrique_2014_en.pdf | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | https://www.services-rte.com/en/view-data-published-by-rte/production-installed-capacity.html | http://pxnet2.stat.fi/PXWeb/pxweb/en/StatFin_Passiivi/StatFin_Passiivi__ene__ehk/statfinpas_ehk_pxt_904_201500_en.px/ | http://pxnet2.stat.fi/PXWeb/pxweb/en/StatFin_Passiivi/StatFin_Passiivi__ene__ehk/statfinpas_ehk_pxt_904_201500_en.px/ | http://pxnet2.stat.fi/PXWeb/pxweb/en/StatFin_Passiivi/StatFin_Passiivi__ene__ehk/statfinpas_ehk_pxt_904_201500_en.px/ | http://pxnet2.stat.fi/PXWeb/pxweb/en/StatFin_Passiivi/StatFin_Passiivi__ene__ehk/statfinpas_ehk_pxt_904_201500_en.px/ | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/826556/DUKES_5.7.xls | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/826556/DUKES_5.7.xls | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/826556/DUKES_5.7.xls | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/826556/DUKES_5.7.xls | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/904812/DUKES_5.7.xls | http://www.rae.gr/site/file/system/docs/ActionReports/national_2015 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2016 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2017 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2018 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2018 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2018 | http://www.rae.gr/site/file/system/docs/ActionReports/national_2019 | https://www.hops.hr/page-file/qyxRItZNXQL84ygVm4NbnE/publications/Temeljni_podaci_2013.pdf | https://www.hops.hr/page-file/vHpFOrmCvaEk2wfzW8lBZ6/publications/Temeljni_podaci_za_2014.pdf | https://www.hops.hr/page-file/PsIM6mazLoTDVjKzm4NbnE/publications/Temeljni_podaci_2015.pdf | https://www.hops.hr/page-file/wEfz2PYHVQLQIygVm4NbnE/publications/Temeljni_podaci_2016.pdf | https://www.hops.hr/page-file/KzqT4wOZhIFGvbKzm4t0IF/annual-report-hops/HOPS_GI_2017_-__za_web.pdf | https://www.hops.hr/page-file/x2VUqipcFKEnEgg50EV391/annual-report-hops/GI%202018%20unutarnje%20-%209-7-19%20web.pdf | https://www.mavir.hu/documents/10262/160362/Planned+Installed+generation+capacity+for+2010_2011_2012_2013+++4.3.1.pdf/84e86e8b-3b7c-4377-8020-c4beec92c914 | https://www.mavir.hu/documents/10262/188569160/BT_terv_2014/9946a7a2-38ec-4794-9d7f-96a7a927d1b9 | https://www.mavir.hu/documents/10262/188569160/BT_terv_2014/9946a7a2-38ec-4794-9d7f-96a7a927d1b9 | https://www.mavir.hu/documents/10262/188569160/BT_terv_2014/9946a7a2-38ec-4794-9d7f-96a7a927d1b9 | https://www.mavir.hu/documents/10262/188569160/BT_terv_2014/9946a7a2-38ec-4794-9d7f-96a7a927d1b9 | https://www.mavir.hu/documents/10262/230112823/VER+BT_20181231.pdf/20c127e3-bb04-8b84-925f-2548761a41d4 | http://www.eirgridgroup.com/site-files/library/EirGrid/Eirgrid_Generation_Capacity_Statement_2015.-2024.pdf | http://www.eirgridgroup.com/site-files/library/EirGrid/Eirgrid_Generation_Capacity_Statement_2015.-2024.pdf | http://www.eirgridgroup.com/site-files/library/EirGrid/EirGrid-Group-All-Island-Generation-Capacity-Statement-2019-2028.pdf | http://www.eirgridgroup.com/site-files/library/EirGrid/All-Island-Generation-Capacity-Statement-2020-2029.pdf | https://download.terna.it/terna/0000/0775/97.PDF | https://download.terna.it/terna/0000/0995/02.PDF | https://download.terna.it/terna/0000/1112/78.PDF | https://download.terna.it/terna/2017_Eng_3-POWER_PLANTS_8d73131c70720ed.pdf | https://www.terna.it/en/electric-system/transparency-report/installed-capacity | https://www.terna.it/en/electric-system/transparency-report/installed-capacity | Link unavailable | Link unavailable | https://www.litgrid.eu/index.php/power-system/power-system-information/generation-capacity/546 | https://www.litgrid.eu/index.php/power-system/power-system-information/generation-capacity/546 | Link unavailable | Link unavailable | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG090.px/table/tableViewLayout1/ & http://data1.csb.gov.lv/pxweb/en/vide/vide__energetika__ikgad/ENG130.px/table/tableViewLayout1/ | https://www.tennet.org/english/operational_management/export_data.aspx | https://www.tennet.org/english/operational_management/export_data.aspx | https://www.tennet.org/english/operational_management/export_data.aspx | https://www.tennet.org/english/operational_management/export_data.aspx | https://www.tennet.org/english/operational_management/export_data.aspx | https://www.ssb.no/eksport/tabell.csv?key=369441 | https://www.ssb.no/eksport/tabell.csv?key=369441 | https://www.ssb.no/eksport/tabell.csv?key=369441 | https://www.ssb.no/eksport/tabell.csv?key=369441 | https://www.ssb.no/eksport/tabell.csv?key=369441 | https://www.ssb.no/eksport/tabell.csv?key=399868 | Link unavailable | https://rynek-energii-elektrycznej.cire.pl/st,33,207,tr,75,0,0,0,0,0,podstawowe-dane.html | https://rynek-energii-elektrycznej.cire.pl/st,33,207,tr,75,0,0,0,0,0,podstawowe-dane.html | Link unavailable | https://www.ren.pt/files/2016-04/2016-04-04142047_7a820a40-3b49-417f-a962-6c4d7f037353$$7319a1b4-3b92-4c81-98d7-fea4bfefafcd$$fe7585fb-f92a-49f7-9574-43f66d7223c6$$File$$pt$$1.pdf | https://www.ren.pt/files/2017-03/2017-03-24140032_7a820a40-3b49-417f-a962-6c4d7f037353$$7319a1b4-3b92-4c81-98d7-fea4bfefafcd$$912d7292-4d3c-4faa-8a0b-2f750e707e15$$File$$pt$$1.pdf | https://www.ren.pt/files/2018-04/2018-04-16164659_7a820a40-3b49-417f-a962-6c4d7f037353$$7319a1b4-3b92-4c81-98d7-fea4bfefafcd$$031d5647-7be6-44c4-b02e-5ce1bf01cbe2$$File$$pt$$1.pdf | https://www.ren.pt/files/2019-04/2019-04-29105436_7a820a40-3b49-417f-a962-6c4d7f037353$$7319a1b4-3b92-4c81-98d7-fea4bfefafcd$$5421f79d-11b2-4209-a7d9-956bc1d10bd2$$File$$pt$$1.pdf | https://www.ren.pt/files/2019-04/2019-04-29105436_7a820a40-3b49-417f-a962-6c4d7f037353$$7319a1b4-3b92-4c81-98d7-fea4bfefafcd$$5421f79d-11b2-4209-a7d9-956bc1d10bd2$$File$$pt$$1.pdf | https://www.anre.ro/download.php?f=gK%2BDgQ%3D%3D&t=vdeyut7dlcecrLbbvbY%3D | https://www.anre.ro/download.php?f=gqh%2BiA%3D%3D&t=vdeyut7dlcecrLbbvbY%3D | https://www.anre.ro/download.php?f=gq%2BEgw%3D%3D&t=vdeyut7dlcecrLbbvbY%3D | https://www.anre.ro/download.php?f=haqAiA%3D%3D&t=vdeyut7dlcecrLbbvbY%3D | https://www.anre.ro/download.php?f=hauBgg%3D%3D&t=vdeyut7dlcecrLbbvbY%3D | https://www.anre.ro/download.php?f=fqd7iac%3D&t=vdeyut7dlcecrLbbvbY%3D | Link unavailable | Link unavailable | Link unavailable | https://www.energimyndigheten.se/globalassets/statistik/energilaget/energy-in-sweden-2019.xlsx | https://www.energimyndigheten.se/globalassets/statistik/energilaget/energy-in-sweden-2019.xlsx | https://www.energiforetagen.se/globalassets/energiforetagen/statistik/energiaret/energiaret-2018_elprod_tabeller_v2.xlsx | https://www.agen-rs.si/documents/54870/68629/Energy-Report---2013/6cdec2bc-d90f-4bf5-928b-4a63dc3f1fa2 | https://www.agen-rs.si/documents/54870/68629/Annual-Report-2014/dfe8a7df-1a34-4d80-b4df-1a5a1104187f | https://www.agen-rs.si/documents/54870/68629/Report-on-the-energy-sector-in-Slovenia-for-2015/f1302ae0-7267-4ae7-b74d-7ce8c4323043 | https://www.agen-rs.si/documents/54870/68629/Report-on-the-energy-sector-in-Slovenia-for-2016/de8cc94f-b3f6-4d32-8e79-ce3b0ec386f5 | https://www.agen-rs.si/documents/54870/68629/a/78f74b68-dbfc-415e-ab88-882652558d94 | Link unavailable | https://slovak.statistics.sk/wps/portal/!ut/p/z1/rZTBcpswEIafpYccsRZJIHHEGAOxQwwYEuvSASM31AE7jWsnb1_Z8aRtGEM7LQcNsP8Hu6t_hQS6R6LJ99WXfFdtmvxRPS-E-TliAR8OdRuAGSMIrtNR5CWWDhTQ3UngeLZP2RSATz0DAttPYysiBGyChArbURQl0ywDL8NjCIjuQZimADE783DhsuHP-Gw6e0vQY3MdgjBM0oxH5GZOT_x7_nziOCpszEdGFpKZS898h6CLt6GHP-f_M2wwUOFE5Z4lkECbbwnE5fLcELrrPwo6-DTo6Z87Njp5h3bzxx_8E-986P-tY7nKf75pU-bqlDOUIYHEstltdw9osSme8wdNNtr2e3EFanms1vmyklewf5a79euvbwCXukGkoVFJLLWsQLO4WWiSyWVBVyujMI3jt7fLqkQLHUtSyJxpK4xXGjUtS-OlBUpdMpaTEuu8_LiX7WER3Vb_wLeL_b0XsZq3YIh1nzoTwjPW4lsC0TfL4iTpmua-Gt4E42SGbYt6zii-VQM7dzBPpiYG0M-CLsP1WV70nQndgrmJQn9TS5TIBi1Uy9jFnkwwuttX8oDSZvOtVsdh8peO8AFdI1EV9eCwrAcw0DFnJsVqMy1M1P3xfK2-Pj0JW5l40-zkyw7d_3cXb-v0_ao5ea0qbR27sX-4cQkVi08_AHhGIRI!/dz/d5/L2dBISEvZ0FBIS9nQSEh/ | https://slovak.statistics.sk/wps/portal/!ut/p/z1/rZTBcpswEIafpYccsVZIgDhijIHYIQYMiXXpCAwNdcBOQ-3k7Ss7nrQNY2in1YEB9v9gd_WvEEf3iDdiX30RbbVtxKN8XnH9c2j4bDzGFoChTcC_TiahG5sYKKC7k8B2LY8acwA2dzXwLS-JzJAQsAjiMmyFYRjP0xTcVJ2CT7ALQZIARMaZhwvLgj_j0_niLUHXWGLwgyBOUhaSmyU98e_5s5lty7C2nGhpQBYOPfM9gj7eggH-nP_PsGaADMcy9zSGGLp8R8Avl-cE0F__UdDDJ_5A_5yp1svbtJ8__uCfePtD_29t05H-83SLGg6mzEAp4ojnTbtrH9Bqmz2LB6VolN337Ark5bHaiLwqrmD_XLSb11_fiLUotVKjSi4IVijOiMKKfK0wprFCFQwyio_f3uXVGq0wlEKYTFd0zRAKZSJXmF6aikl1BkIzszIvP-5ld1h4v9U_8N1if-9FJOfNH6vYo_aMsNTo8B0BH5plfpL0TfNQDW-CabxQLZO69iS6lQO7tFUWz3UVAJ8FfYYbsjwfOhP6BUsdBd62LlBcNGglW2Zc7MlMRXf7qjigpNl-q-VxGP-lIzxA14hXWT065PUIRlhlhk5VuZmmSuT98Xytvj49cUuaeNu0xUuL7v-7i3d18r5qRl6rStlETuQdbhxC-erTD_ffAqA!/dz/d5/L2dBISEvZ0FBIS9nQSEh/ | https://slovak.statistics.sk/wps/portal/!ut/p/z1/rZTBcpswEIafpYccsRYkIXHEGAOxQwwYGnTpAMYNdcBOQ-3m7Ss7nrQ1Y2in1YEB9v9gd_WvkEAPSDTZvvqctdW2yZ7kcyr0TwHz-HismgCMTsC7jSeBExkqEEAfTwLLMV3C5gB87lDwTDcOjQBjMDESMmwGQRDNkwScRJuCh1UH_DgGCNmZhyvLhD_jk_niLUGHLVXwfD-KEx7guyU58e_585llyTBdTmji44VNznyPoI83YYA_5_8zTBnIcCRzTyKIoMt3BOJ6ebYP_fUfBT187A30z57SXt4i_fzxB__EWxf9v7cMW_rP1U3CbJVwhhIkkCiadtc-onSbv2SPStkou2_5DcjLU7XJiqq8gf1L2W5ef32TGWrGVsZaWfFMV4hOqMKpvCsxLwzAJIeCHr-9K6oVSiHT8hUjupIX60Ihqk4VyZfKeo1xSTnOoNAu97I7LKLf6hd8t9jfexHKefPGmuoSa4Z5wjp8RyCGZlmcJH3TPFTDm2AaLTTTII41Ce_lwC4tjUdzXQNQz4I-ww1ZXgydCf2CpY58d1uXKCoblMqWsas9mck93VflAcXN9mstj8PoLx3hArpFosrr0aGoRzBSNc50osnNNDQs74_na_Xl-VmY0sTbpi2_t-jhv7t4V8fvq-b4taqUTWiH7uHOxkSkH34AcI_n7A!!/dz/d5/L2dBISEvZ0FBIS9nQSEh/ | https://slovak.statistics.sk/wps/portal/!ut/p/z1/rZRRd5owFMc_yx76iLmEQJJHRASqpQLCal52AOPKLGhXp-u3X7SebpMjbGfLAwe4_x_ce_O_QQI9INHk--pzvqs2Tf6knhfC-hTRgA2Hug1AzREEt-ko8hKuAwH08SRwPNsndArApp4Jge2nMY8MA2wDCRW2oyhKplkGXobHEBi6B2GaAsT0zMOVZcOf8dl09pagR-c6BGGYpBmLjLs5OfHv-bOJ46iwOR-ZWWjMXHLmOwRdvA09_Dn_n2GTggonKvcsgQTafEsgrpfnhtBd_1HQwadBT__csdnJO6SbP_7gn3jnov_3DneV_3zLJtTVCaMoQwKJstltd49osSle8kdNNtr2W3ED6vJUrfOykjewf5G79euvbzDnJTcLoi1zk2gEl1IruGFpRcFXJsF0xTAcv70tqyVa6IwA6HylSWZxjchlqTFpgsYMbEnMTGtF8eVetodFdFv9gm8X-3svYjVvwRDrPnEmBstoi28JRN8si5Oka5r7angTjJMZtjnxnFF8rwZ27mCWTC2sWngWdBmuz_Ki70zoFswtFPqbWqJENmihWkav9mSi9nRfyQNKm83XWh2HyV86wgd0i0RV1INDWQ9goGNGLYLVZnJsqPvj-Vp9eX4WtjLxptnJ7zv08N9dvK3T91Uz47WqtHXsxv7hzjWIWHz4AZRUN9Q!/dz/d5/L2dBISEvZ0FBIS9nQSEh/ | https://slovak.statistics.sk/PortalTraffic/fileServlet?Dokument=da19bcb8-8c9c-4757-aba5-2d0720266efa
| Level 0 | Level 1 | Level 2 | Level 3 | Technology level | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Net capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Net capacity | Net capacity | Net capacity | Net capacity | Net capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown
Fossil fuels | 0 | 1 | 0 | 0 | 0 | 7561.289 | 7243.634 | 7059.065 | 7323 | 6469 | 6492 | 6041 | [5 empty] | 6888 | 5710 | 959 | 575 | 622 | 593 | 1018 | 1111 | 946 | 940 | 12157.6 | 12961.1 | 12961.1 | 13087.5 | 13334.8 | 13349.8 | [7 empty] | 7836.45 | 7579.72 | 7526 | 7527 | 7284 | 7306 | 2802 | 2798 | 2510 | 2547 | 2527 | 2907 | 2765 | 47968 | 47821 | 46808 | 45655.1535 | 45482.2745 | 45117.7555 | 44608 | 43305 | 25149.83 | 17601 | 15721 | 14926 | 22047 | 19189 | 18089 | 11135 | 10743 | 10134 | 10134 | 55505.7 | 50512.1565 | 50901 | 50274 | 43909 | 10239.5 | 10060 | 10060 | 9834.3 | 8819.3 | 8819.3 | 8800 | 1670 | 1770 | 2010 | 1994 | 1994 | 2019 | [6 empty] | 5737 | 5737 | 5626 | 6075 | 74965 | 68597 | 64915.2 | 64045 | 61620 | 61000 |  |  |  |  | 511.695 | 509.745 | 1251.5 | 1265.3 | 1275.1 | 1292.1 | 1299.1 | 1269.7 | 1269.7 | 22244 | 21743 | 17450 | 17386 | 18004 | 1635 | 1598 | 1598 | 1108 | 1108 | 1108 | 31086.7 | 31512.8 | 33321.7 | 6515 | 6458 | 6454 | 6452 | 6403 | 6401 | 12079 | 12102 | 12010 | 11272 | 11300 | 11688 | 4635 | 4866 | 4501 | 3010 | 2490 | 3301 | 1240 | 1766 | 1442.97 | 1450.5 | 1223 | 3348 | 2907 | 2586 | 3164.51 | 3266.97 | 2581.47
- Lignite | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2012: 4177; Installed capacity in MW 2019: 4119; Installed capacity in MW 2012: 4930; Installed capacity in MW 2013: 4456; Installed capacity in MW 2014: 4456; Installed capacity in MW 2015: 4462; Installed capacity in MW 2016: 4337; Installed capacity in MW 2017: 4337; Installed capacity in MW 2018: 3900; Installed capacity in MW 2014: 9220.5; Installed capacity in MW 2017: 9286.9; Installed capacity in MW 2019: 9292.4
- Hard coal | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 1171; Installed capacity in MW 2014: 1171; Installed capacity in MW 2015: 1171; Installed capacity in MW 2017: 1012; Installed capacity in MW 2018: 1012; Installed capacity in MW 2019: 598; Installed capacity in MW 2012: 1917; Installed capacity in MW 2019: 356; Installed capacity in MW 2015: 4810; Installed capacity in MW 2016: 2930; Installed capacity in MW 2017: 2930; Installed capacity in MW 2018: 3972; Installed capacity in MW 2019: 3966; Installed capacity in MW 2020: 2977; Installed capacity in MW 2015: 13252; Installed capacity in MW 2016: 14513; Installed capacity in MW 2013: 5874; Installed capacity in MW 2015: 5838; Installed capacity in MW 2016: 5118; Installed capacity in MW 2017: 3366; Installed capacity in MW 2018: 4008; Installed capacity in MW 2014: 20291.1; Installed capacity in MW 2017: 20989.5; Installed capacity in MW 2019: 22792.2; Installed capacity in MW 2016: 1756; Installed capacity in MW 2017: 1756; Installed capacity in MW 2018: 1756; Installed capacity in MW 2016: 5785; Installed capacity in MW 2017: 5805; Installed capacity in MW 2018: 6232
- Oil | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 360.436; Installed capacity in MW 2014: 333.736; Installed capacity in MW 2015: 173.636; Installed capacity in MW 2017: 168; Installed capacity in MW 2018: 168; Installed capacity in MW 2019: 164; Installed capacity in MW 2013: 2996; Installed capacity in MW 2014: 2996; Installed capacity in MW 2015: 2490; Installed capacity in MW 2019: 2460; Installed capacity in MW 2020: 2460; Installed capacity in MW 2015: 6670; Installed capacity in MW 2016: 6670; Installed capacity in MW 2017: 5300; Installed capacity in MW 2018: 6263; Installed capacity in MW 2019: 3271; Installed capacity in MW 2020: 2874; Installed capacity in MW 2015: 2880.4; Installed capacity in MW 2016: 1370.9; Installed capacity in MW 2012: 730; Installed capacity in MW 2013: 698; Installed capacity in MW 2014: 698; Installed capacity in MW 2015: 730; Installed capacity in MW 2016: 0; Installed capacity in MW 2014: 1126; Installed capacity in MW 2015: 1126; Installed capacity in MW 2019: 914; Installed capacity in MW 2013: 140; Installed capacity in MW 2014: 138; Installed capacity in MW 2015: 138
- Natural gas | 0 | 0 | 1 | 1 | 0 | Installed capacity in MW 2013: 5119.113; Installed capacity in MW 2014: 4888.658; Installed capacity in MW 2015: 4820.189; Installed capacity in MW 2017: 4853; Installed capacity in MW 2018: 4876; Installed capacity in MW 2019: 4429; Installed capacity in MW 2012: 794; Installed capacity in MW 2019: 1235; Installed capacity in MW 2013: 26670; Installed capacity in MW 2014: 26670; Installed capacity in MW 2015: 26670; Installed capacity in MW 2019: 26284; Installed capacity in MW 2020: 26284; Installed capacity in MW 2015: 6121; Installed capacity in MW 2016: 6121; Installed capacity in MW 2017: 6696; Installed capacity in MW 2018: 11812; Installed capacity in MW 2019: 11952; Installed capacity in MW 2020: 12238; Installed capacity in MW 2012: 1115; Installed capacity in MW 2013: 1161; Installed capacity in MW 2014: 1161; Installed capacity in MW 2015: 1161; Installed capacity in MW 2015: 31917.3; Installed capacity in MW 2016: 33998.2565; Installed capacity in MW 2018: 32267; Installed capacity in MW 2019: 31469; Installed capacity in MW 2012: 4579.5; Installed capacity in MW 2013: 4906; Installed capacity in MW 2014: 4906; Installed capacity in MW 2015: 4642.3; Installed capacity in MW 2016: 4482.3; Installed capacity in MW 2017: 4482.3; Installed capacity in MW 2018: 4900; Installed capacity in MW 2014: 258; Installed capacity in MW 2015: 258; Installed capacity in MW 2020: 4077; Installed capacity in MW 2013: 16370; Installed capacity in MW 2015: 15905; Installed capacity in MW 2016: 12332; Installed capacity in MW 2017: 14020; Installed capacity in MW 2018: 13996; Installed capacity in MW 2014: 927.2; Installed capacity in MW 2017: 1236.4; Installed capacity in MW 2019: 1237.1; Installed capacity in MW 2013: 4759; Installed capacity in MW 2014: 4702; Installed capacity in MW 2015: 4698; Installed capacity in MW 2016: 4636; Installed capacity in MW 2017: 4607; Installed capacity in MW 2018: 4609; Installed capacity in MW 2016: 1577; Installed capacity in MW 2017: 1577; Installed capacity in MW 2013: 1016; Installed capacity in MW 2014: 1022; Installed capacity in MW 2015: 959
- Combined cycle | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 518; Installed capacity in MW 2014: 1363.3; Installed capacity in MW 2015: 1363.3; Installed capacity in MW 2016: 1363.5; Installed capacity in MW 2017: 1363.5; Installed capacity in MW 2018: 1363.5; Installed capacity in MW 2019: 26284; Installed capacity in MW 2020: 26284; Installed capacity in MW 2015: 29771; Installed capacity in MW 2016: 30090; Installed capacity in MW 2017: 32887; Installed capacity in MW 2018: 32267; Installed capacity in MW 2019: 31469; Installed capacity in MW 2012: 3737; Installed capacity in MW 2018: 854.82
- Gas turbine | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 820.1; Installed capacity in MW 2014: 855.9; Installed capacity in MW 2015: 855.9; Installed capacity in MW 2016: 874; Installed capacity in MW 2017: 895.9; Installed capacity in MW 2018: 910.9; Installed capacity in MW 2015: 32.3; Installed capacity in MW 2016: 32.3; Installed capacity in MW 2012: 508.5; Installed capacity in MW 2020: 4077; Installed capacity in MW 2018: 82.85
- Other and unknown natural gas | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2012: 334; Installed capacity in MW 2013: 930; Installed capacity in MW 2014: 873; Installed capacity in MW 2015: 869
- Differently categorized natural gas | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 5119.113; Installed capacity in MW 2014: 4888.658; Installed capacity in MW 2015: 4820.189; Installed capacity in MW 2017: 4853; Installed capacity in MW 2018: 4876; Installed capacity in MW 2019: 4429; Installed capacity in MW 2012: 794; Installed capacity in MW 2019: 1235; Installed capacity in MW 2013: 26670; Installed capacity in MW 2014: 26670; Installed capacity in MW 2015: 26670; Installed capacity in MW 2015: 6121; Installed capacity in MW 2016: 6121; Installed capacity in MW 2017: 6696; Installed capacity in MW 2019: 11952; Installed capacity in MW 2012: 1115; Installed capacity in MW 2013: 1161; Installed capacity in MW 2014: 1161; Installed capacity in MW 2015: 1161; Installed capacity in MW 2015: 2114; Installed capacity in MW 2016: 3875.9565; Installed capacity in MW 2013: 4906; Installed capacity in MW 2014: 4906; Installed capacity in MW 2015: 4642.3; Installed capacity in MW 2016: 4482.3; Installed capacity in MW 2017: 4482.3; Installed capacity in MW 2018: 4900; Installed capacity in MW 2014: 258; Installed capacity in MW 2015: 258; Installed capacity in MW 2013: 16370; Installed capacity in MW 2015: 15905; Installed capacity in MW 2016: 12332; Installed capacity in MW 2017: 14020; Installed capacity in MW 2018: 13996; Installed capacity in MW 2014: 927.2; Installed capacity in MW 2017: 1236.4; Installed capacity in MW 2019: 1237.1; Installed capacity in MW 2013: 3829; Installed capacity in MW 2014: 3829; Installed capacity in MW 2015: 3829; Installed capacity in MW 2018: 4609; Installed capacity in MW 2013: 1016; Installed capacity in MW 2014: 1022; Installed capacity in MW 2015: 959
- Non-renewable waste | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2019: 490; Installed capacity in MW 2020: 490
- Mixed fossil fuels | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 496.74; Installed capacity in MW 2014: 436.24; Installed capacity in MW 2015: 480.24; Installed capacity in MW 2017: 436; Installed capacity in MW 2018: 436; Installed capacity in MW 2019: 436; Installed capacity in MW 2015: 7456; Installed capacity in MW 2016: 630; Installed capacity in MW 2014: 4353; Installed capacity in MW 2015: 4353; Installed capacity in MW 2019: 4712; Installed capacity in MW 2013: 1213; Installed capacity in MW 2014: 820; Installed capacity in MW 2015: 779
- Other fossil fuels | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 414; Installed capacity in MW 2014: 414; Installed capacity in MW 2015: 414; Installed capacity in MW 2019: 414; Installed capacity in MW 2016: 6491.1535; Installed capacity in MW 2017: 6318.2745; Installed capacity in MW 2018: 6313.7555; Installed capacity in MW 2019: 5691; Installed capacity in MW 2020: 5671; Installed capacity in MW 2017: 1680; Installed capacity in MW 2020: 129; Installed capacity in MW 2018: 36; Installed capacity in MW 2016: 110.5; Installed capacity in MW 2018: 12.54
- Differently categorized fossil fuels | 0 | 0 | 1 | 1 | 1 | [14 empty] | 959 | 575 | 622 | 593 | 1018 | 1111 | 946 | 940 | 10819.5 | 10741.9 | 10741.9 | 10850 | 11075.4 | 11075.4 | [7 empty] | 7836.45 | 7579.72 | 7526 | 7527 | 7284 | 7306 | 2802 | 2798 | 2510 | 2547 | 2527 | 2907 | 2765 | 18302 | 18155 | 17648 | 39164 | 39164 | 38804 | 9683 | 8400 | 25149.83 | [6 empty] | 10020 | 9582 | 8973 | 8973 | 0 | 0 | 16334 | 18007 | 12440 | [7 empty] | 1670 | 1770 | 2010 | 1994 | 1994 | 2019 | [9 empty] | 1869 | 74965 | 68597 | 64915.2 | 64045 | 61620 | 61000 |  |  |  |  | 511.695 | 509.745 | 1251.5 | 1265.3 | 1275.1 | 1292.1 | 1299.1 | 1269.7 | 1269.7 | [5 empty] | 1635 | 1598 | 1598 | 1108 | 1108 | 1108 | 647.9 |  |  | 1756 | 1756 | 1756 | 60 | 40 |  | 12079 | 12102 | 12010 | 5487 | 5495 | 5456 | 4635 | 4866 | 4501 | 1433 | 913 | 3301 | 1240 | 1766 | 1442.97 | 1340 | 1223 | 979 | 927 | 710 | 3164.51 | 3266.97 | 1631.26
Nuclear | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 2000 | 2000 | 3278 | 3278 | 3333 | 3333 | 3333 | 3333 | 3333 | 3333 | 4290 | 4290 | 4290 | 4290 | 4290 | 4290 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7573 | 7573 | 7573 | 7573 | 7117 | 7117 | 7117 | 7117 | 63130 | 63130 | 63130 | 63130 | 63130 | 63130 | 63130 | 2752 | 2752 | 2752 | 2752 | 9408 | 8918 | 9361 | 9314 | 9261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 492 | 492 | 492 | 492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1413 | 1413 | 1413 | 1300 | 1300 | 1413 | 9531 | 9528 | 9714 | 9076 | 8586 | 8614 | 696 | 696 | 348 | 348 | 348 | 1940 | 1940 | 1940 | 1940 | 1940 | 1940
Renewable energy sources | 0 | 1 | 0 | 0 | 0 | 16181.2978 | 16893.0786 | 17488.5595 | 17879 | 18840 | 19620 | 20008 | [5 empty] | 4874 | 5048 | 16073 | 14008 | 14645 | 14867 | 15271 | 16548 | 17336 | 17790 | 4631.6 | 4597.4 | 4614.5 | 4614.1 | 4641.9 | 4637 | [7 empty] | 5399.34 | 5502.82 | 5865 | 6105 | 6437 | 7128 | 274 | 339 | 308 | 316.5 | 318 | 315 | 322 | 50348 | 50400 | 51053 | 51435.7389 | 51515.3723 | 51794.6564 | 54082 | 60482 | 34183.13 | 40245.76 | 42356.5 | 45161.64 | 46588 | 48226 | 49457 | 3383 | 3572 | 3783 | 3783 | 16031.85 | 25930.7418 | 21032 | 23343 | 24749 | 5069.5 | 7003 | 8014 | 7987.7 | 8272.7 | 8693.7 | 8998 | 2448 | 2451 | 2540 | 2531 | 2633 | 2599.6 | [6 empty] | 3036 | 3257 | 4965 | 4966 | 50567.98 | 51435.33 | 52165.69 | 53099.139 | 53600 | 54200 |  |  |  |  | 1297.375 | 1512.772 | 1809.15 | 1838.68 | 1844.4 | 1777 | 1796 | 1803 | 1825 | 48 | 48 |  | 48 |  | 31851 | 32099 | 32239 | 32700 | 33119 | 34240 | 6394.9 | 9378.1 | 10663.8 | 10897 | 11230 | 12014 | 13087 | 16095 | 16250 | 10209.05 | 10985.05 | 11131.05 | 11142 | 11137 | 11305.05 | 24107 | 25155 | 25736 | 22861 | 23246 | 27864 | 1154 | 1156 | 1616.31 | 1600.56 | 1609.2 | 3200 | 3250 | 3223 | 2518.11 | 2518.11 | 2519.95
- Hydro | 0 | 0 | 1 | 1 | 0 | 13427.3708 | 13567.9973 | 13656.7018 | 14118 | 14150 | 14516 | 14597 | [5 empty] | 3161 | 3211 | 15587 | 13770 | 13828 | 13745 | 13817 | 14809 | 15355 | 15544 | 2229.2 | 2251.9 | 2259 | 2264.2 | 2264.2 | 2264 | [7 empty] | 8.73 | 8.62 | 7 | 9 | 9 | 9 | 8 | 5 | 8 | 6.5 | 7 | 6 | 6 | 19450 | 19457 | 20325 | 20375 | 20372 | 20390 | 20389 | 20414 | 25502.16 | 23492.76 | 23494.5 | 23522.64 | 24820 | 24257 | 21603 | 3125 | 3125 | 3153 | 3153 | 4270 | 4586.6726 | 4367 | 4367 | 4363 | 3223 | 3018 | 3393 | 3241.7 | 3240.7 | 3401.7 | 3410 | 2194 | 2112 | 2112 | 2104 | 2104 | 2070.6 | [6 empty] | 508 | 508 | 530 | 534 | 22434.5 | 22560.3 | 22658 | 22837.9 | 22500 | 22900 |  |  |  |  | 1130.308 | 1330.308 | 1589 | 1590 | 1589 | 1564 | 1564 | 1565 | 1586 | [5 empty] | 31033 | 31240 | 31372 | 31817 | 31912 | 32530 | 2207.7 | 2306 | 2291 | 5653 | 5693 | 6146 | 6945 | 9891 | 9913 | 6648 | 6709 | 6731 | 6685 | 6700 | 6759 | 16150 | 16155 | 16184 | 16181 | 16301 | 16315 | 1154 | 1156 | 1278.68 | 1270.6 | 1328.7 | 2523 | 2553 | 2522 | 2518.11 | 2516.72 | 2519.95
- Run-of-river | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 5580.6708; Installed capacity in MW 2014: 5598.9643; Installed capacity in MW 2015: 5662.3998; Installed capacity in MW 2016: 5700; Installed capacity in MW 2017: 5714; Installed capacity in MW 2018: 5722; Installed capacity in MW 2019: 5795; Installed capacity in MW 2012: 176; Installed capacity in MW 2015: 10314.1; Installed capacity in MW 2016: 10325.5; Installed capacity in MW 2017: 10326.98; Installed capacity in MW 2018: 11222; Installed capacity in MW 2019: 10955; Installed capacity in MW 2020: 9759; Installed capacity in MW 2013: 32.3; Installed capacity in MW 2014: 32.3
- Reservoir | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2015: 7994.302; Installed capacity in MW 2016: 8418; Installed capacity in MW 2017: 8436; Installed capacity in MW 2018: 8795; Installed capacity in MW 2019: 8803; Installed capacity in MW 2015: 8213.66; Installed capacity in MW 2016: 8204; Installed capacity in MW 2017: 8230.66; Installed capacity in MW 2018: 8578; Installed capacity in MW 2019: 8279; Installed capacity in MW 2020: 7188
- Reservoir including pumped storage | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 7846.7; Installed capacity in MW 2014: 7969.033; Installed capacity in MW 2012: 2218
- Pumped storage | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2012: 450; Installed capacity in MW 2013: 1146.5; Installed capacity in MW 2014: 1171.5; Installed capacity in MW 2015: 1171.5; Installed capacity in MW 2016: 1171.5; Installed capacity in MW 2017: 1171.5; Installed capacity in MW 2018: 1171.5; Installed capacity in MW 2013: 2451; Installed capacity in MW 2014: 2451; Installed capacity in MW 2015: 3301; Installed capacity in MW 2020: 3329; Installed capacity in MW 2015: 4965; Installed capacity in MW 2016: 4965; Installed capacity in MW 2017: 4965; Installed capacity in MW 2018: 5020; Installed capacity in MW 2019: 5023; Installed capacity in MW 2020: 4656; Installed capacity in MW 2015: 2528; Installed capacity in MW 2016: 2528; Installed capacity in MW 2017: 2744; Installed capacity in MW 2018: 2744; Installed capacity in MW 2019: 2744; Installed capacity in MW 2014: 292; Installed capacity in MW 2015: 292; Installed capacity in MW 2019: 292; Installed capacity in MW 2020: 292; Installed capacity in MW 2013: 1096; Installed capacity in MW 2014: 1296; Installed capacity in MW 2014: 1330; Installed capacity in MW 2017: 1413; Installed capacity in MW 2019: 1413; Installed capacity in MW 2017: 2698; Installed capacity in MW 2018: 2698; Installed capacity in MW 2013: 916; Installed capacity in MW 2014: 916; Installed capacity in MW 2015: 916
- Pumped storage with natural inflow | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2017: 7193; Installed capacity in MW 2018: 7215
- Differently categorized hydro | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [9 empty] | 767 | 3211 | 15137 | 13770 | 13828 | 13745 | 13817 | 14809 | 15355 | 15544 | 1082.7 | 1080.4 | 1087.5 | 1092.7 | 1092.7 | 1092.5 | [7 empty] | 8.73 | 8.62 | 7 | 9 | 9 | 9 | 8 | 5 | 8 | 6.5 | 7 | 6 | 6 | 16999 | 17006 | 17024 | 20375 | 20372 | 20390 | 20389 | 17085 | 25502.16 | [6 empty] | 3125 | 3125 | 3153 | 3153 | 1742 | 2058.6726 | 1623 | 1623 | 1619 | 3223 | 3238 | 3393 | 3241.7 | 3240.7 | 3401.7 | 3410 | 2194 | 2112 | 2112 | 2104 | 2104 | 2070.6 | [6 empty] | 216 | 216 | 238 | 242 | 22311.7 | 22560.3 | 22658 | 22837.9 | 22500 | 22900 |  |  |  |  | 2.008 | 2.008 | 1589 | 1590 | 1589 | 1564 | 1564 | 1565 | 1586 | [5 empty] | 31033 | 31240 | 31372 | 31817 | 31912 | 32530 | 877.7 | 893 | 878 | 5653 | 5693 | 6146 |  |  |  | 6648 | 6709 | 6731 | 6685 | 6700 | 6759 | 16150 | 16155 | 16184 | 16181 | 16301 | 16315 | 1154 | 1156 | 1278.68 | 1270.6 | 1328.7 | 1607 | 1637 | 1606 | 2518.11 | 2516.72 | 2519.95
- Wind | 0 | 0 | 1 | 1 | 0 | 1674.5375 | 2110.2746 | 2488.7256 | 2730 | 2887 | 3133 | 3208 | [5 empty] | 677 | 701 | 49 | 45 | 60 | 60 | 60 | 75 | 75 | 75 | 270 | 278.1 | 280.6 | 282 | 308.2 | 316.2 | [7 empty] | 4819.81 | 4887.51 | 5076 | 5245 | 5490 | 6121 | 266 | 334 | 300 | 310 | 311 | 309 | 316 | 22997 | 23008 | 23014 | 23051.9427 | 23130.4303 | 23368.2652 | 24048 | 26503 | 4330 | 10322 | 11680 | 13569 | 12518 | 13610 | 16592 | 258 | 447 | 630 | 630 | 10928.85 | 14290.4957 | 8529 | 9361 | 10361 | 1363 | 1520 | 1978 | 2089 | 2370 | 2625 | 2860 | 254 | 339 | 428 | 427 | 529 | 529 | [6 empty] | 2165 | 2386 | 4015 | 4325 | 8703.08 | 9161.94 | 9409.93 | 9765.856 | 10230 | 10300 |  |  |  |  | 58.327 | 58.342 | 59 | 69 | 69 | 70 | 77 | 78 | 78 | [5 empty] | 818 | 859 | 867 | 883 | 1207 | 1710 | 3866 | 1374.7 | 1391.4 | 4364 | 4541 | 4826 | 5070 | 5090 | 5150 | 2605 | 2953 | 2978 | 2989 | 2998 | 3032 | 4470 | 5420 | 6029 | 6495 | 6691 | 7406 |  |  | 6.09 | 3.31 |  | 5 | 3 | 4
- Onshore | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 1674.5375; Installed capacity in MW 2014: 2110.2746; Installed capacity in MW 2015: 2488.7256; Installed capacity in MW 2016: 2730; Installed capacity in MW 2017: 2887; Installed capacity in MW 2018: 3133; Installed capacity in MW 2019: 3208; Installed capacity in MW 2012: 49; Installed capacity in MW 2012: 45; Installed capacity in MW 2014: 60; Installed capacity in MW 2015: 60; Installed capacity in MW 2016: 60; Installed capacity in MW 2017: 75; Installed capacity in MW 2018: 75; Installed capacity in MW 2019: 75; Installed capacity in MW 2013: 270; Installed capacity in MW 2014: 278.1; Installed capacity in MW 2015: 280.6; Installed capacity in MW 2016: 282; Installed capacity in MW 2017: 308.2; Installed capacity in MW 2018: 316.2; Installed capacity in MW 2015: 3805; Installed capacity in MW 2016: 3974; Installed capacity in MW 2017: 4226; Installed capacity in MW 2018: 4420; Installed capacity in MW 2015: 10312; Installed capacity in MW 2016: 11670; Installed capacity in MW 2017: 13559; Installed capacity in MW 2018: 12518; Installed capacity in MW 2019: 13610; Installed capacity in MW 2020: 16578; Installed capacity in MW 2015: 6100.6; Installed capacity in MW 2016: 2317; Installed capacity in MW 2014: 2140; Installed capacity in MW 2015: 2361; Installed capacity in MW 2020: 4300; Installed capacity in MW 2013: 67; Installed capacity in MW 2014: 69; Installed capacity in MW 2015: 69; Installed capacity in MW 2013: 5; Installed capacity in MW 2014: 3; Installed capacity in MW 2015: 4
- Offshore | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2015: 1271; Installed capacity in MW 2016: 1271; Installed capacity in MW 2017: 1297; Installed capacity in MW 2018: 1701; Installed capacity in MW 2015: 10; Installed capacity in MW 2016: 10; Installed capacity in MW 2017: 10; Installed capacity in MW 2019: 0; Installed capacity in MW 2020: 14; Installed capacity in MW 2015: 4828.25; Installed capacity in MW 2016: 5086.5; Installed capacity in MW 2014: 25; Installed capacity in MW 2015: 25; Installed capacity in MW 2020: 25
- Differently categorized wind | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2012: 677; Installed capacity in MW 2019: 701; Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 0; Installed capacity in MW 2017: 0; Installed capacity in MW 2013: 4819.81; Installed capacity in MW 2014: 4887.51; Installed capacity in MW 2013: 266; Installed capacity in MW 2014: 334; Installed capacity in MW 2015: 300; Installed capacity in MW 2016: 310; Installed capacity in MW 2017: 311; Installed capacity in MW 2018: 309; Installed capacity in MW 2019: 316; Installed capacity in MW 2013: 22997; Installed capacity in MW 2014: 23008; Installed capacity in MW 2015: 23014; Installed capacity in MW 2016: 23051.9427; Installed capacity in MW 2017: 23130.4303; Installed capacity in MW 2018: 23368.2652; Installed capacity in MW 2019: 24048; Installed capacity in MW 2020: 26503; Installed capacity in MW 2014: 4330; Installed capacity in MW 2012: 258; Installed capacity in MW 2013: 447; Installed capacity in MW 2014: 630; Installed capacity in MW 2015: 630; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 6886.9957; Installed capacity in MW 2017: 8529; Installed capacity in MW 2018: 9361; Installed capacity in MW 2019: 10361; Installed capacity in MW 2012: 1363; Installed capacity in MW 2013: 1520; Installed capacity in MW 2014: 1978; Installed capacity in MW 2015: 2089; Installed capacity in MW 2016: 2370; Installed capacity in MW 2017: 2625; Installed capacity in MW 2018: 2860; Installed capacity in MW 2013: 254; Installed capacity in MW 2014: 339; Installed capacity in MW 2015: 428; Installed capacity in MW 2016: 427; Installed capacity in MW 2017: 529; Installed capacity in MW 2018: 529; Installed capacity in MW 2019: 4015; Installed capacity in MW 2014: 8703.08; Installed capacity in MW 2015: 9161.94; Installed capacity in MW 2016: 9409.93; Installed capacity in MW 2017: 9765.856; Installed capacity in MW 2018: 10230; Installed capacity in MW 2019: 10300; Installed capacity in MW 2013: 58.327; Installed capacity in MW 2014: 58.342; Installed capacity in MW 2013: -8; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 70; Installed capacity in MW 2017: 77; Installed capacity in MW 2018: 78; Installed capacity in MW 2019: 78; Installed capacity in MW 2013: 818; Installed capacity in MW 2014: 859; Installed capacity in MW 2015: 867; Installed capacity in MW 2016: 883; Installed capacity in MW 2017: 1207; Installed capacity in MW 2018: 1710; Installed capacity in MW 2014: 3866; Installed capacity in MW 2017: 1374.7; Installed capacity in MW 2019: 1391.4; Installed capacity in MW 2013: 4364; Installed capacity in MW 2014: 4541; Installed capacity in MW 2015: 4826; Installed capacity in MW 2017: 5090; Installed capacity in MW 2018: 5150; Installed capacity in MW 2013: 2605; Installed capacity in MW 2014: 2953; Installed capacity in MW 2015: 2978; Installed capacity in MW 2016: 2989; Installed capacity in MW 2017: 2998; Installed capacity in MW 2018: 3032; Installed capacity in MW 2013: 4470; Installed capacity in MW 2014: 5420; Installed capacity in MW 2015: 6029; Installed capacity in MW 2016: 6495; Installed capacity in MW 2017: 6691; Installed capacity in MW 2018: 7406; Installed capacity in MW 2015: 6.09; Installed capacity in MW 2016: 3.31
- Solar | 0 | 0 | 1 | 1 | 0 | 446.9747 | 586.1244 | 722.7962 | 1031 | 1193 | 1373 | 1619 | [5 empty] | 1013 | 1059 | 437 | 192 | 756 | 1061 | 1394 | 1664 | 1906 | 2171 | 2132.4 | 2067.4 | 2074.9 | 2067.9 | 2069.5 | 2056.8 | [7 empty] | 570.8 | 606.69 | 782 | 851 | 906 | 998 | [7 empty] | 6949 | 6946 | 6967 | 6989.7817 | 6992.2016 | 7010.5507 | 8559 | 12317 | 4350.97 | 6191 | 6772 | 7660 | 7170 | 8188 | 9438 | [5 empty] | 1834.7074 | 2172 | 2230 | 2269 | 439 | 2419 | 2596 | 2605 | 2604 | 2605 | 2645 | [14 empty] | 20 | 53 | 18609.4 | 18892.1 | 19283.17 | 19682.293 | 20100 | 20200 |  |  |  |  | 95.021 | 109.933 | 0.15 | 0.68 | 0.4 |  |  | 2 | 3 |  |  |  | 48 | [10 empty] | 283 | 396 | 429 | 459 | 490 | 559 | 860 | 1223 | 1301 | 1346 | 1314 | 1382 | 43 | 79 | 104 | 185 | 254 | 435 |  |  | 268.21 | 270.54 | 280.5 | 588 | 533 | 533
- Photovoltaics | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 446.9747; Installed capacity in MW 2014: 586.1244; Installed capacity in MW 2015: 722.7962; Installed capacity in MW 2016: 1031; Installed capacity in MW 2017: 1193; Installed capacity in MW 2018: 1373; Installed capacity in MW 2019: 1619; Installed capacity in MW 2012: 1013; Installed capacity in MW 2019: 1059; Installed capacity in MW 2012: 437; Installed capacity in MW 2012: 192; Installed capacity in MW 2014: 756; Installed capacity in MW 2015: 1061; Installed capacity in MW 2016: 1394; Installed capacity in MW 2017: 1664; Installed capacity in MW 2018: 1906; Installed capacity in MW 2019: 2171; Installed capacity in MW 2013: 2132.4; Installed capacity in MW 2014: 2067.4; Installed capacity in MW 2015: 2074.9; Installed capacity in MW 2016: 2067.9; Installed capacity in MW 2017: 2069.5; Installed capacity in MW 2018: 2056.8; Installed capacity in MW 2013: 4649; Installed capacity in MW 2014: 4646; Installed capacity in MW 2015: 4667; Installed capacity in MW 2016: 4685.6687; Installed capacity in MW 2017: 4688.0886; Installed capacity in MW 2018: 4706.4377; Installed capacity in MW 2019: 6255; Installed capacity in MW 2020: 10013; Installed capacity in MW 2014: 4350.97; Installed capacity in MW 2012: 439; Installed capacity in MW 2013: 2419; Installed capacity in MW 2014: 2596; Installed capacity in MW 2015: 2605; Installed capacity in MW 2016: 2604; Installed capacity in MW 2017: 2605; Installed capacity in MW 2018: 2645; Installed capacity in MW 2019: 20; Installed capacity in MW 2020: 53; Installed capacity in MW 2013: 95.021; Installed capacity in MW 2014: 109.933; Installed capacity in MW 2013: 860; Installed capacity in MW 2014: 1223; Installed capacity in MW 2015: 1301; Installed capacity in MW 2016: 1346; Installed capacity in MW 2017: 1314; Installed capacity in MW 2018: 1382
- Concentrated solar power | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2013: 2300; Installed capacity in MW 2014: 2300; Installed capacity in MW 2015: 2300; Installed capacity in MW 2019: 2304; Installed capacity in MW 2020: 2304
- Differently categorized solar | 0 | 0 | 0 | 0 | 1 | Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2013: 570.8; Installed capacity in MW 2014: 606.69; Installed capacity in MW 2015: 782; Installed capacity in MW 2016: 851; Installed capacity in MW 2017: 906; Installed capacity in MW 2018: 998; Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 2304.113; Installed capacity in MW 2017: 2304.113; Installed capacity in MW 2018: 2304.113; Installed capacity in MW 2015: 6191; Installed capacity in MW 2016: 6772; Installed capacity in MW 2017: 7660; Installed capacity in MW 2019: 8188; Installed capacity in MW 2020: 9438; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 1834.7074; Installed capacity in MW 2017: 2172; Installed capacity in MW 2018: 2230; Installed capacity in MW 2019: 2269; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2014: 18609.4; Installed capacity in MW 2015: 18892.1; Installed capacity in MW 2016: 19283.17; Installed capacity in MW 2017: 19682.293; Installed capacity in MW 2018: 20100; Installed capacity in MW 2019: 20200; Installed capacity in MW 2013: 0.15; Installed capacity in MW 2014: 0.68; Installed capacity in MW 2015: 0.4; Installed capacity in MW 2018: 2; Installed capacity in MW 2019: 3; Installed capacity in MW 2017: 48; Installed capacity in MW 2014: 0; Installed capacity in MW 2013: 283; Installed capacity in MW 2014: 396; Installed capacity in MW 2015: 429; Installed capacity in MW 2017: 490; Installed capacity in MW 2018: 559; Installed capacity in MW 2013: 43; Installed capacity in MW 2014: 79; Installed capacity in MW 2015: 104; Installed capacity in MW 2016: 185; Installed capacity in MW 2017: 254; Installed capacity in MW 2018: 435; Installed capacity in MW 2015: 268.21; Installed capacity in MW 2016: 270.54; Installed capacity in MW 2017: 280.5; Installed capacity in MW 2013: 588; Installed capacity in MW 2014: 533; Installed capacity in MW 2015: 533
- Geothermal | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 0.922; Installed capacity in MW 2014: 0.915; Installed capacity in MW 2015: 0.915; Installed capacity in MW 2016: 1; Installed capacity in MW 2017: 1; Installed capacity in MW 2018: 1; Installed capacity in MW 2019: 1; Installed capacity in MW 2014: 821; Installed capacity in MW 2015: 820.99; Installed capacity in MW 2016: 814.59; Installed capacity in MW 2017: 813.09; Installed capacity in MW 2018: 770; Installed capacity in MW 2019: 800; Installed capacity in MW 2013: 0.05; Installed capacity in MW 2014: 0.05; Installed capacity in MW 2015: 0.05; Installed capacity in MW 2016: 0.05; Installed capacity in MW 2017: 0.05; Installed capacity in MW 2018: 0.05
- Marine | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2015: 240; Installed capacity in MW 2016: 240; Installed capacity in MW 2017: 240; Installed capacity in MW 2018: 240; Installed capacity in MW 2019: 240; Installed capacity in MW 2020: 246
- Bioenergy and renewable waste | 0 | 0 | 1 | 0 | 0 | Installed capacity in MW 2013: 631.4928; Installed capacity in MW 2014: 627.7673; Installed capacity in MW 2015: 619.4209; Installed capacity in MW 2017: 609; Installed capacity in MW 2018: 597; Installed capacity in MW 2019: 583; Installed capacity in MW 2012: 23; Installed capacity in MW 2019: 77; Installed capacity in MW 2012: 1; Installed capacity in MW 2014: 1; Installed capacity in MW 2015: 1; Installed capacity in MW 2013: 952; Installed capacity in MW 2014: 989; Installed capacity in MW 2015: 747; Installed capacity in MW 2020: 160; Installed capacity in MW 2016: 170; Installed capacity in MW 2017: 170; Installed capacity in MW 2018: 1840; Installed capacity in MW 2019: 1931; Installed capacity in MW 2020: 1578; Installed capacity in MW 2015: 833; Installed capacity in MW 2016: 5218.8661; Installed capacity in MW 2012: 44.5; Installed capacity in MW 2013: 46; Installed capacity in MW 2014: 47; Installed capacity in MW 2015: 52; Installed capacity in MW 2016: 58; Installed capacity in MW 2017: 62; Installed capacity in MW 2018: 83; Installed capacity in MW 2014: 363; Installed capacity in MW 2015: 363; Installed capacity in MW 2019: 400; Installed capacity in MW 2020: 54; Installed capacity in MW 2013: 13.719; Installed capacity in MW 2014: 14.189; Installed capacity in MW 2013: 161; Installed capacity in MW 2014: 179; Installed capacity in MW 2015: 186; Installed capacity in MW 2016: 143; Installed capacity in MW 2017: 155; Installed capacity in MW 2018: 158; Installed capacity in MW 2019: 158; Installed capacity in MW 2013: 48; Installed capacity in MW 2015: 48; Installed capacity in MW 2014: 321.2; Installed capacity in MW 2017: 720.2; Installed capacity in MW 2019: 732.8; Installed capacity in MW 2013: 597; Installed capacity in MW 2014: 600; Installed capacity in MW 2015: 613; Installed capacity in MW 2017: 624; Installed capacity in MW 2018: 628; Installed capacity in MW 2013: 96; Installed capacity in MW 2014: 100; Installed capacity in MW 2015: 121; Installed capacity in MW 2016: 122; Installed capacity in MW 2017: 125; Installed capacity in MW 2018: 132; Installed capacity in MW 2013: 3444; Installed capacity in MW 2014: 3501; Installed capacity in MW 2015: 3419; Installed capacity in MW 2018: 3708; Installed capacity in MW 2015: 63.33; Installed capacity in MW 2016: 56.11; Installed capacity in MW 2013: 84; Installed capacity in MW 2014: 161; Installed capacity in MW 2015: 164
- Biomass and biogas | 0 | 0 | 0 | 1 | 1 | Installed capacity in MW 2013: 493.8808; Installed capacity in MW 2014: 491.1113; Installed capacity in MW 2015: 486.2769; Installed capacity in MW 2017: 486.339; Installed capacity in MW 2018: 475; Installed capacity in MW 2019: 461; Installed capacity in MW 2012: 23; Installed capacity in MW 2019: 77; Installed capacity in MW 2016: 170; Installed capacity in MW 2017: 170; Installed capacity in MW 2018: 1840; Installed capacity in MW 2019: 1931; Installed capacity in MW 2020: 1578; Installed capacity in MW 2015: 610; Installed capacity in MW 2016: 2309; Installed capacity in MW 2012: 44.5; Installed capacity in MW 2013: 46; Installed capacity in MW 2014: 47; Installed capacity in MW 2015: 52; Installed capacity in MW 2016: 58; Installed capacity in MW 2017: 62; Installed capacity in MW 2018: 83; Installed capacity in MW 2014: 118; Installed capacity in MW 2015: 118; Installed capacity in MW 2019: 118; Installed capacity in MW 2020: 54; Installed capacity in MW 2013: 7.916; Installed capacity in MW 2014: 8.316; Installed capacity in MW 2013: 108; Installed capacity in MW 2014: 121; Installed capacity in MW 2015: 126; Installed capacity in MW 2016: 81; Installed capacity in MW 2017: 94; Installed capacity in MW 2018: 97; Installed capacity in MW 2019: 97; Installed capacity in MW 2013: 48; Installed capacity in MW 2015: 48; Installed capacity in MW 2017: 720.2; Installed capacity in MW 2019: 732.8; Installed capacity in MW 2016: 613; Installed capacity in MW 2013: 96; Installed capacity in MW 2014: 100; Installed capacity in MW 2015: 121; Installed capacity in MW 2016: 122; Installed capacity in MW 2017: 125; Installed capacity in MW 2018: 132; Installed capacity in MW 2013: 3080; Installed capacity in MW 2014: 3082; Installed capacity in MW 2015: 2978; Installed capacity in MW 2018: 3270; Installed capacity in MW 2015: 55.14; Installed capacity in MW 2016: 16.59
- Sewage and landfill gas | 0 | 0 | 0 | 1 | 1 | Installed capacity in MW 2013: 22.912; Installed capacity in MW 2014: 21.956; Installed capacity in MW 2015: 23.144; Installed capacity in MW 2017: 22; Installed capacity in MW 2018: 22; Installed capacity in MW 2019: 22; Installed capacity in MW 2012: 1; Installed capacity in MW 2014: 1; Installed capacity in MW 2015: 1; Installed capacity in MW 2016: 1277.6623; Installed capacity in MW 2013: 0.075; Installed capacity in MW 2014: 0.075; Installed capacity in MW 2013: 53; Installed capacity in MW 2014: 58; Installed capacity in MW 2015: 60; Installed capacity in MW 2016: 62; Installed capacity in MW 2017: 61; Installed capacity in MW 2018: 61; Installed capacity in MW 2019: 61; Installed capacity in MW 2015: 7.1; Installed capacity in MW 2016: 38.23
- Other bioenergy and renewable waste | 0 | 0 | 0 | 1 | 1 | Installed capacity in MW 2013: 114.7; Installed capacity in MW 2014: 114.7; Installed capacity in MW 2015: 110; Installed capacity in MW 2017: 100; Installed capacity in MW 2018: 100; Installed capacity in MW 2019: 100; Installed capacity in MW 2013: 952; Installed capacity in MW 2014: 989; Installed capacity in MW 2015: 747; Installed capacity in MW 2019: 160; Installed capacity in MW 2020: 160; Installed capacity in MW 2015: 223; Installed capacity in MW 2016: 1632.2038; Installed capacity in MW 2014: 245; Installed capacity in MW 2015: 245; Installed capacity in MW 2019: 282; Installed capacity in MW 2013: 5.728; Installed capacity in MW 2014: 5.798; Installed capacity in MW 2014: 321.2; Installed capacity in MW 2013: 597; Installed capacity in MW 2014: 600; Installed capacity in MW 2015: 613; Installed capacity in MW 2017: 624; Installed capacity in MW 2018: 628; Installed capacity in MW 2013: 364; Installed capacity in MW 2014: 419; Installed capacity in MW 2015: 441; Installed capacity in MW 2018: 438; Installed capacity in MW 2015: 1.09; Installed capacity in MW 2016: 1.29; Installed capacity in MW 2013: 84; Installed capacity in MW 2014: 161; Installed capacity in MW 2015: 164
- Differently categorized renewable energy sources | 0 | 0 | 1 | 1 | 1 | Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 1.2506e-12; Installed capacity in MW 2015: 0; Installed capacity in MW 2016: 1019.0145; Installed capacity in MW 2017: 1020.7405; Installed capacity in MW 2018: 1025.8405; Installed capacity in MW 2019: 926; Installed capacity in MW 2020: 1088; Installed capacity in MW 2017: 5964; Installed capacity in MW 2018: 7385; Installed capacity in MW 2019: 7756; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2017: 4977.2; Installed capacity in MW 2019: 6248.6; Installed capacity in MW 2013: 0; Installed capacity in MW 2014: 0; Installed capacity in MW 2015: 0
Other or unspecified energy sources | 0 | 1 | 1 | 1 | 1 | 80.4 | 87.4 | 89.6 | 0 | 105 | 105 | 107 | [5 empty] | 0 | 0 | 0 | 348 | 398 | 398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 574.48 | 574.42 | 615 | 615 | 646 | 639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 754 | 0 | 0 | 0 | 0 | 0 | 1486.33 | 62 | 62 | 62 | 175 | 108 | 1070 | 60 | 70 | 80 | 80 | 0 | 9310.9821 | 0 | 0 | 0 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 212 | 212 | 212 | 212 | 0 | 0 | [6 empty] | 160 | 160 | 216 | 9 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 743 | 692 | 692 | 692 | 692 | 0 | 0 | 0 | 0 | 0 | 0 | 1871.5 | 2751 | 3392.6 | 339 | 88 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 5032 | 4529 | 0 | 532 | 565 | 134.62 | 137.2 | 20.1 | 25 | 25 | 30 | 0 | 0 | 0
Total | 1 | 0 | 0 | 0 | 0 | 23822.9868 | 24224.1126 | 24637.2245 | 25202 | 25414 | 26217 | 26156 | [5 empty] | 13762 | 12758 | 20310 | 18209 | 18998 | 19191 | 19622 | 20842 | 21615 | 22063 | 21079.2 | 21920.4 | 21865.6 | 21991.6 | 22266.7 | 2276.9 | [7 empty] | 13810.27 | 13656.96 | 14006 | 14247 | 14367 | 15073 | 3076 | 3137 | 2818 | 2863.5 | 2845 | 3222 | 3087 | 105889 | 105794 | 106188 | 104663.8924 | 104114.6468 | 104029.412 | 105808 | 110904 | 123949.29 | 121038.77 | 121269.5 | 123279.64 | 131940 | 130653 | 131746 | 17330 | 17137 | 16749 | 16749 | 80945.55 | 94671.8803 | 81294 | 82931 | 77920 | 15398 | 17373 | 17696.5 | 17625 | 16708 | 17128 | 17440 | 4330 | 4433 | 4762 | 4736 | 4627 | 4618.6 | [6 empty] | 8933 | 9154 | 10807 | 11050 | 125532.98 | 120032.33 | 117080.89 | 117144.139 | 115220 | 115200 |  |  |  |  | 1809.07 | 2022.517 | 3060.65 | 3103.98 | 3119.5 | 3069.1 | 3095.1 | 3072.7 | 3094.7 | 23527 | 22975 | 18142 | 18618 | 19188 | 33486 | 33697 | 33837 | 33808 | 34227 | 35348 | 39353.1 | 43612 | 47378.1 | 17751 | 17776 | 18534 | 19539 | 22498 | 22651 | 23701.05 | 24500.05 | 24554.05 | 23715 | 23738 | 24406 | 38273 | 39549 | 39951 | 39979 | 38851 | 39779 | 3622 | 4183 | 3541.9 | 3537 | 3180.2 | 8513 | 8122 | 7779 | 7622.62 | 7723.69 | 7041.42
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.

## Additional notes
Additional notes
The categories used in the dataset cover different levels, so called energy source levels, to reflect the structural relations among the categories. Moreover, this ensures that the total capacity is identical for each energy source level.
The relation between individual categories and energy source levels is laid down in the additional sheet 'technology levels'.
"Differently categorized …" | These categories comprise either capacities which cannot be assigned to specific categories at the same level, or capacities with unspecified fuel or technology.
"Reservoir including pumped storage" | Aggregated capacity of reservoirs and pumped storage, or combinations of both. Relevant for AT.
"Pumped storage with natural inflow" | Pumped storage with natural inflow, or reservoirs with pumping capacity.